## Slide 1: Field amplified sample stacking and focusing in nanochannels
Brian Storey (Olin College)
Jess Sustarich (UCSB)
Sumita Pennathur (UCSB)

## Slide 2: FASS in microchannels
Low cond. fluid
High cond. fluid
High cond. fluid
V
+
Chien & Burgi, A. Chem 1992
σ=10
σ=10
σ=1
E=1
E=10
E Electric field
σ Electrical conductivity

## Slide 3: FASS in microchannels
-
-
-
-
-
-
-
-
-
Low cond. fluid
High cond. fluid
High cond. fluid
Sample ion
V
+
Chien & Burgi, A. Chem 1992
-
σ=10
σ=10
σ=1
E=1
n=1
E=10
E Electric field
σ Electrical conductivity
n Sample concentration

## Slide 4: FASS in microchannels
V
+
Chien & Burgi, A. Chem 1992
-
-
-
-
-
-
-
-
-
Low cond. fluid
High cond. fluid
High cond. fluid
Sample ion
-
E=1
n=1
n=10
σ=10
σ=10
σ=1
E=10
E Electric field
σ Electrical conductivity
n Sample concentration

## Slide 5: FASS in microchannels
-
-
-
-
-
-
-
-
-
Low cond. fluid
High cond. fluid
High cond. fluid
Sample ion
V
+
Chien & Burgi, A. Chem 1992
-
Maximum enhancement in sample concentration is equal to conductivity ratio
E=10
E=1
n=10
σ=10
σ=10
σ=1
E Electric field
σ Electrical conductivity
n Sample concentration

## Slide 6: FASS in microchannels
Low cond. fluid
High cond. fluid
High cond. fluid
V
E
+
Chien & Burgi, A. Chem 1992
dP/dx
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-

## Slide 7: FASS in microchannels
Low conductivity fluid
Sample ions
Simply calculate mean fluid velocity, and electrophoretic velocity.
Diffusion/dispersion limits the peak enhancement.

## Slide 8: FASS in nanochannels
Same idea, just a smaller channel.
Differences between micro and nano are quite significant.

## Slide 9: Experimental setup
2 Channels: 250 nm x7 microns
1x9 microns

## Slide 10: Raw data 10:1 conductivity ratio

## Slide 11: Micro/nano comparison
10

## Slide 12: Observations
In 250 nm channels,
  enhancement depends on:
    Background salt concentration
    Applied electric field
  Enhancement exceeds conductivity ratio.
In 1 micron channels,
  Enhancement is constant.

## Slide 13: Model
Poisson-Nernst-Planck + Navier-Stokes
Use extreme aspect ratio to get 1D equations – assuming local electrochemical equilibrium (aspect ratio is equivalent to a tunnel my height from Boston to NYC)
Yields simple equations for propagation of the low conductivity region and sample.

## Slide 14: Model – yields simple jump conditions for the propagation of interfaces
Flow is constant down the channel
Current is constant down the channel.
Conservation of electrical conductivity.
Conservation of sample species.
u is velocity
ρ is charge density
E is electric field
b is mobility
σ is electrical conductivity
n is concentration of sample
Bar denotes average taken across channel height

## Slide 15: Characteristics
1 micron
Enhancement =13
Enhancement =125
Low conductivity
250 nm
Low conductivity
Sample ions
Sample ions
10:1 Conductivity ratio, 1:10mM concentration

## Slide 16: Why is nanoscale different?
High cond.
High cond.
High cond.
High cond.
High cond.
High cond.
Low cond.
Low cond.
Low cond.
X (mm)
y/H
y/H
y/H

## Slide 17: Focusing
-
-
Low cond. buffer
High cond. buffer
High cond. buffer
Uσ
Us,low
Us,high
Debye length/Channel Height
Us,high
Uσ
Us,low

## Slide 18: Simple model to experiment
Simple model – 1D, single channel, no PDE, no free parameters
Debye length/Channel Height

## Slide 19: Towards quantitative agreement
Add diffusive effects (solve a 1D PDE)
All four channels and sequence of voltages is critical in setting the initial contents of channel, and time dependent electric field in measurement channel.

## Slide 20: Characteristics – 4 channels
1 micron channel
250 nmchannel
Red – location of sample
Blue – location of low conductivity fluid

## Slide 21: Model vs. experiment (16 kV/m)
Model
Exp.
250 nm
1 micron

## Slide 22: Model vs. experiment (32 kV/m)
Model
Exp.
250 nm
1 micron

## Slide 23: Untested predictions

## Slide 24: Shocks in background concentration
Mani, Zangle, and Santiago. Langmuir, 2009

## Slide 25: Conclusions
Nanochannel FASS shows dependence on electrolyte concentration, channel height, electric field, sample valence, etc – not present in microchannels.
Nanochannels outperform microchannels in terms of enhancement.
Nanochannel FASS demonstrates a novel focusing mechanism.
Double layer to channel height is key parameter.
Model is very simple, yet predicts all the key trends with no fit parameters.
Future work
  What is the upper limit?
  Can it be useful?
  More detailed model – better quantitative agreement.

## Slide 26: Untested predictions